PLAYDAYS PRESCHOOL

ELECTRICAL EQUIPMENT

Staff must monitor all electrical equipment and ensure it is safe before it is used.  This includes computers, photocopiers, televisions, cd players, laminators, Alexa and any other electrical appliance which is used by Playdays.    Any faults found must be reported to the Health and Safety Officer/Managers immediately. (Electrical equipment belonging to the Quakers must be safe to use however faults must be bought to the attention of the Caretaker)

Staff are encouraged to:

Monitor the equipment

Use equipment safely and appropriately

Report faults

Switch off electrical equipment when not in use

Only use equipment they are competent to use

NOT carry out repairs unless they are trained to do so

NOT misuse equipment

NOT to overload sockets

PAT testing with be carried out yearly, however equipment is monitored daily

LOG of PAT Testing

| DATE | TEST CARRIED OUT BY | COMMENTS |
| --- | --- | --- |
| 12 Oct 2019 | Colin Speck | All equipment passed |
| 18 Oct 2020 | Colin Speck | All equipment passed |
| 12 Oct 2021 | Quakers | Laminator did not pass (laminator disposed of and new one purchased) |
| 5th Oct 2023 | Quakers | All equipment passed |
| 8th Oct 2024 | Quakers | All equipment passed |
| 9th Oct 2024 | Quakers | All equipment passed |
| 11th Oct 2025 | Quakers | Blender did not pass (disposed of) Problem with plug on laptop. Plug changed |

Signed:				C.J.MOORE/MANAGER

G.V.DAVEY/MANAGER

L.A.SPECK/MANAGER